## Sheet1
Building Name | Building Number | Room No. | Wallplate | Device Make | Device Model | Device Description | Device MAC Address | Device Serial No. | IP Address | Netmask | Gateway

## Sheet2
Vendor | Device | Mac Address | IP Address | Floor | Switch | Port
Automated Logic | Cep LGR 1000 | 00-E0-C9-20-AE-93 | 10.15.13.23 | 1 | 1 | 12
Automated Logic | AHU 1 LGR 1000 | 00-E0-C9-20-AE-91 | 10.15.13.22 | 4 | 1 | 3
Automated Logic | AHU 3 LGR 1000 | 00-E0-C9-20-E9-70 | 10.15.13.11 | 4 | 1 | 2
Automated Logic | AHU 5 Lgr 1000 | 00-E0-C9-20-AD-72 | 10.15.13.10 | 4 | 1 | 1
Automated Logic | 2nd and 3rd flr LGR 1000 | 00-E0-C9-20-EB-C7 | 10.15.13.171 | 2
Automated Logic | Temporary Server | 74-EA-3A-B0-FF-10 | 10.15.13.149 | 1 | 1 | 4
Watt Stopper | 1st floor seg manager | 0001f08d45e4 | 10.15.13.15 | 1 | 1 | 3
Watt Stopper | 2nd floor seg manager | 0001f08d45e8 | 10.15.13.14 | 2 | 1 | 1
Watt Stopper | 3rd floor seg manager | 0001f08d45e6 | 10.15.13.13 | 3 | 1 | 1
Watt Stopper | 4th floor seg manager | 0001f08d45e2 | 10.15.13.12 | 4 | 1 | 6
Phoenix | Server B West | 00-01-F0-8D-15-00 | 10.15.13.30 | 4 | 1 | 4
Phoenix | Server A East | 00-01-F0-8D-35-7E | 10.15.13.29 | 4 | 1 | 5
Phoenix | svr-2-a | 00-01-F0-8D-35-54 | 10.15.13.24 | 2
Phoenix | svr-2-b | 00-01-F0-8D-35-4A | 10.15.13.25 | 2
Phoenix | svr2-c | 00-01-F0-8D-35-5E | 10.15.13.26 | 2
Phoenix | svr-3-a | 00-01-F0-8D-14-F6 | 10.15.13.27 | 3
Phoenix | svr-3-b | 00-01-F0-8D-35-48 | 10.15.13.28 | 3
Phoenix
Phoenix